公司简介

南京智达电气有限公司是一家专业从事高压电器组件制造的科技型民营企业、高新技术企业，旗下还拥有另外三家公司，分别为江苏智达高压电气有限公司、宿松恒达电器配件有限公司、河南爱迪德电力设备有限责任公司，公司总注册资本3.95亿元。仅南京智达电气拥有研发和技术人员100多人，公司已通过SGS的ISO9001质量体系认证、ISO14001、HSMS18001认证、俄罗斯GOST认证及GOST计量认证、CMC计量认证、美国UL认证，同时通过了国外ABB、Siemens等公司的可持续发展认证。

公司产品分变压器套管、电流互感器、复合绝缘子、高压电瓷和铜、铝铸造加工五大类，基本上为国内所有大型变压器和高压开关厂配套，产品出口到欧美、日本、韩国、东南亚等全球大部分国家和地区，是ABB、Siemens、Alstom等公司在中国采购该类产品的最重要供应商。

公司有一支专业的高电压技术人员队伍，具有较强的产品研发、设计、工艺改进及专业设备制造能力，拥有五十多项国家专利。一流的技术，诚信的品质，精心的服务以及有显著竞争力的价格，得到了所有合作伙伴的好评。

公司以“不断创新，技术始终领先；精心制作,力争件件精品；持续改进，质量稳定可靠；优质服务，保证用户满意；遵规守法，保障健康安全”为方针。我们的目标：诚实、勤奋工作，将公司打造成为同类产品中全球规模最大、品种最全、最具有竞争力的组件供应商。

Introduction

Nanjing Zhida Electric Co., Ltd. is a private high-tech enterprise engaged in the manufacturing of high-voltage (HV) electric components and products. It has another three professional manufacturers: Such as Jiangsu Zhida H.V. Electric Co.,Ltd.; Susong Hengda Electronic & Electrical Components Co.,Ltd.; Henan Add Electric Power Equipment Co., Ltd.  The total registered capital is 395 million RMB.  Only in Nanjing Zhida Company ，there are more than 100 R&D and technical professionals. The company has passed the SGS ISO9001 quality certification, ISO 14001 and HSMS 18001 certification, Russia GOST certification& GOST metrological certification,CMC metrological certification and USA UL certification as well as certifications on sustainable development from abroad companies, such as ABB & Siemens etc.

There are mainly five types of products: transformer bushing, current transformer, composite insulators, HV porcelain and copper, aluminum casting and machining component, mainly used by the larger domestic transformer & HV switch factories.  The products are also sold out to most of the abroad countries and regions including America, EU, Japan, Korea and south-east Asia etc. In China we are the most important supplier for ABB, Siemens and Alstom etc.

Our company has a dedicated HV professional team with the stronger R&D, design, process improvement and equipment manufacturing ability, obtaining more than 50 national patents.  With the best technology, good quality, dedicated service and the most competitive price, we won the good praises from them.

Based on the guideline of “Technical leadership through continuous innovation; excellent products through fine workmanship; stable and reliable quality through persistent improvement; assurance of customer satisfaction through high-quality service and assurance of health and safety through compliance of laws and rules”, our goal is to become the global largest supplier with a complete types of products and the most competitive price through oursincere and diligent work.

产品类型：

- 油浸纸电容式变压器套管     OIP CONDENSER TRANSFORMER BUSHING

- 油浸纸电容式穿墙套管       OIP CONDENSER WALL BUSHING

- 大电流油纸电容式变压器套管

HIGH CURRENT OIP CONDENSER TRANSFORMER BUSHING

- 胶浸纸电容式变压器套管（油-空气、油-油、油-SF6）

RIP CONDENSER TRANSFORMER BUSHING(OIL-AIR、OIL-OIL、OIL-SF6)

- 玻璃钢电容式变压器套管（油-空气、油-油、油-SF6）

FRP CONDENSER TRANSFORMER BUSHING(OIL-AIR、OIL-OIL、OIL-SF6)

- 全氢冷发电机出线套管

INTERNAL HYDROGEN COOLING ELECTRIC GENERATOR BUSHING

胶浸纸套管   RIP bushing                   油纸电容式套管OIP bushing

550kV油纸电容式穿墙套管                   玻璃钢套管FRP bushing

550kV OIP wall-bushing

生产车间厂房

Workshop

生产车间厂房内景

Interior of the workshop

7m电容芯子卷制机

7m capacitive core rolling equipment

4.8m电容芯子卷制机

4.8m capacitive core rolling equipment

百万伏条卷机

Millions of kV winder

纸盘干燥设备

Paper drying equipment

电容芯子真空干燥罐

Vacuum drying oven

真空处理设备

Vacuum treatment equipment

真空浸油系统

Vacuum oil system

550kV烘房

550kV oasthouse

1650kV工频试验系统

1650kV Power frequency withstand voltage test system

2400kV直流试验设备

2400kV DC test equipment

300kV工频试验系统

300kV Power frequency withstand voltage test system

4000kV雷电冲击试验设备

4000kV Lightning impact test equipment

750kV工频试验系统

750kV Power frequency withstand voltage test system

油纸电容式套管 (OIP) oil impregnated paper condenser bushing

1 套管型号说明 Bushing type specification

BR(CR)DLW-□(设备最高电压：kV)/□(额定电流:A)-□(防污等级)

BR(CR)DLW-□(Highest voltage for equipment：kV)/□(rated current:A)-□(anti-pollution level)

BR：油纸电容式变压器套管，CR:油纸电容式穿墙套管

BR: OIP condenser transformer bushing, CR: OIP condenser wall bushing

D：表示短尾套管，无则表示为中长尾套管

D: short tail bushing, without D means the bushing is a long tail bushing

L：可加装电流互感器，无则表示不可加装电流互感器

L: Equip with a current transformer, without L means the bushing can not equip with a current transformer

W：防污型，3表示爬电比距为25mm/kV（统一爬电比距为43.3mm/kV）

4表示爬电比距为31mm/kV（统一爬电比距为53.7mm/kV）

W: anti-pollution type,

3 represents the specific creepage distance is 25mm/kV (unidied specific creepage distance is 43.3mm/kV).

4 represents the specific creepage distance is 31mm/kV (unidied specific creepage distance is 53.7mm/kV)

2 电气性能 Electrical performance

| 序号 No. | 设备最高电压 Um | 雷电冲击耐受电压 | 一分钟工频干耐受电压 |  | 一分钟工频湿耐受电压 | 操作冲击耐受电压 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | BIL（kV） | AC（dry,kV） |  | AC（wet,kV） | SIL（kV） |
| 1 | 40.5 | 200 | 95 |  | 80 | --- |
| 2 | 52 | 250 | 105 |  | 95 | --- |
| 3 | 72.5 | 325 | 155 |  | 140 | --- |
| 4 | 123（126） | 550 | 255 |  | 230 | --- |
| 5 | 145 | 650 | 305 |  | 275 | --- |
| 6 | 170 | 750 | 355 |  | 325 | --- |
| 7 | 245（252） | 1050 | 505 |  | 460 | --- |
| 8 | 300 | 1050 | 505 |  | --- | 850 |
| 9 | 362（363） | 1175 | 625 |  | 535 | 950 |
| 10 | 420 | 1425 | 695 |  | --- | 1050 |
| 11 | 550 | 1675 | 750 |  | --- | 1175 |
| 12 | 800 | 2100 | 970 |  | --- | 1425 |
| 13 | 1100 | 2400 | 1200 |  | --- | 1950 |
| 介质损耗因素(20℃室温下)tanδ： |  |  |  | Um下＜0.004 |  |  |
| 局部放电量Partial discharge |  |  |  | Um下＜5PC |  |  |
|  |  |  |  | 1.5Um下＜10PC |  |  |

3 使用环境 Service environment

·周围环境空气温度Ambient temperature: －40℃～＋40℃

·安装方式:垂直（与垂直线夹角＜30°），穿墙套管可水平安装

Installation: Vertically installed (installation angle from vertical <30°), wall bushing can be installed horizontally.

油浸纸电容式变压器套管---穿缆式（170kV及以下电压等级）

OIP CONDENSER TRANSFORMER BUSHING---DRAW LEAD (Voltage level below 170 kV)

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | 引入电缆长 | 外绝缘瓷套 |  |  | 法兰及接地 |  |  |  |  |  |  | 油中尺寸 |  | 均压球 |  | 气中端子 |  |  | 引线接头 |  | 油枕 | 导管 | 接线柱 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | L1 | 公称爬距 | L2 | D4 | L4 | D | D3 | n1 | d3 | L6 | L7 | L3 | D2 | L8 | D5 | L9 | n2 | d4 | d1 | L5 | D1 | d2 | L11 | D6 |
| BR3140 | BRW-40.5/630-4 | 40.5 | 630 | 1355 | 1055 | 1260 | 485 | 230 | 30 | 225 | 184 | 4 | 22 | 115 | 25 | 295 | 115 | 60 | 100 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR3143E | BRLW-40.5/630-4 | 40.5 | 630 | 1560 | 1255 | 1260 | 485 | 230 | 300 | 225 | 184 | 4 | 22 | 115 | 25 | 505 | 115 | 60 | 100 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR3145E | BRLW-40.5/630-4 | 40.5 | 630 | 1760 | 1455 | 1260 | 485 | 230 | 500 | 225 | 184 | 4 | 22 | 115 | 25 | 705 | 115 | 60 | 100 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR3153 | BRLW-52/800-3 | 52 | 800 | 1655 | 1340 | 1600 | 485 | 260 | 300 | 225 | 185 | 4 | 22 | 115 | 25 | 595 | 115 | 60 | 100 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR3243 | BRLW-40.5/1250-4 | 40.5 | 1250 | 1590 | 1270 | 1260 | 485 | 260 | 300 | 255 | 225 | 8 | 14 | 115 | 25 | 505 | 130 | 60 | 120 | 50 | 4 | 18 | 36 | 40 | 200 | 48 | * | * |
| BR4130A | BRDW-72.5/630-3 | 72.5 | 630 | 1590 | 1285 | 1825 | 700 | 250 | 30 | 320 | 280 | 6 | 18 | 135 | 20 | 300 | 138 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR4134A | BRDLW-72.5/630-3 | 72.5 | 630 | 1960 | 1655 | 1825 | 700 | 250 | 400 | 320 | 280 | 6 | 18 | 135 | 20 | 670 | 138 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR4140A | BRDW-72.5/630-4 | 72.5 | 630 | 1645 | 1340 | 2250 | 755 | 260 | 30 | 320 | 280 | 6 | 18 | 135 | 20 | 300 | 138 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR4142A | BRDLW-72.5/630-4 | 72.5 | 630 | 1880 | 1575 | 2250 | 755 | 260 | 265 | 320 | 280 | 6 | 18 | 135 | 20 | 535 | 138 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR4144A | BRDLW-72.5/630-4 | 72.5 | 630 | 2015 | 1710 | 2250 | 755 | 260 | 400 | 320 | 280 | 6 | 18 | 135 | 20 | 670 | 138 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR4145A | BRDLW-72.5/630-4 | 72.5 | 630 | 2115 | 1810 | 2250 | 755 | 260 | 500 | 320 | 280 | 6 | 18 | 135 | 20 | 770 | 138 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR4146A.3 | BRDLW-72.5/630-4 | 72.5 | 630 | 2305 | 2000 | 2250 | 755 | 250 | 660 | 320 | 280 | 6 | 18 | 135 | 20 | 960 | 138 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 180 | 35 | * | * |
| BR4240 | BRDW-72.5/1250-4 | 72.5 | 1250 | 1640 | 1350 | 2250 | 700 | 290 | 30 | 400 | 350 | 6 | 24 | 145 | 25 | 330 | 160 | 90 | 140 | 50 | 4 | 18 | 36 | 40 | 200 | 48 | * | * |
| BR4244 | BRDLW-72.5/1250-4 | 72.5 | 1250 | 2060 | 1750 | 2250 | 700 | 290 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 730 | 160 | 90 | 140 | 50 | 4 | 18 | 36 | 40 | 200 | 48 | * | * |
| BR4245 | BRDLW-72.5/1250-4 | 72.5 | 1250 | 2160 | 1850 | 2250 | 700 | 290 | 500 | 400 | 350 | 6 | 24 | 145 | 25 | 830 | 160 | 90 | 140 | 50 | 4 | 18 | 36 | 40 | 200 | 48 | * | * |
| BR5130 | BRDW-126/630-3 | 126 | 630 | 2155 | 1850 | 3150 | 1100 | 300 | 40 | 400 | 350 | 6 | 24 | 145 | 25 | 450 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5134 | BRDLW-126/630-3 | 126 | 630 | 2520 | 2210 | 3150 | 1100 | 300 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 810 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5135B | BRDLW-126/630-3 | 126 | 630 | 2665 | 2360 | 3150 | 1100 | 300 | 550 | 400 | 350 | 6 | 24 | 145 | 25 | 960 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5140 | BRDW-126/630-4 | 126 | 630 | 2305 | 2000 | 3906 | 1250 | 300 | 40 | 400 | 350 | 6 | 24 | 145 | 25 | 450 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5143 | BRDLW-126/630-4 | 126 | 630 | 2560 | 2255 | 3906 | 1250 | 300 | 300 | 400 | 350 | 6 | 24 | 145 | 25 | 710 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5144 | BRDLW-126/630-4 | 126 | 630 | 2665 | 2360 | 3906 | 1250 | 300 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 810 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5144B | BRDLW-126/630-4 | 126 | 630 | 2720 | 2410 | 3906 | 1250 | 300 | 450 | 400 | 350 | 6 | 24 | 145 | 25 | 860 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5145B | BRDLW-126/630-4 | 126 | 630 | 2815 | 2510 | 3906 | 1250 | 300 | 550 | 400 | 350 | 6 | 24 | 145 | 25 | 960 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5145A | BRLW-126/630-4 | 126 | 630 | 3030 | 2725 | 3906 | 1250 | 300 | 565 | 400 | 350 | 6 | 24 | 145 | 25 | 1175 | 160 | 110 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5160 | BRDW-126/630-4T | 126 | 630 | 2530 | 2225 | 5400 | 1475 | 320 | 40 | 400 | 350 | 6 | 24 | 145 | 25 | 450 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5164K | BRDLW-126/630-4 | 126 | 630 | 2890 | 2585 | 5300 | 1475 | 320 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 810 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5244A | BRDLW-126/1250-4 | 126 | 1250 | 2750 | 2445 | 3906 | 1250 | 320 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 840 | 180 | 90 | 140 | 50 | 4 | 18 | 36 | 40 | 200 | 48 | * | * |
| BR5140E | BRW-145/630-3 | 145 | 630 | 2535 | 2230 | 3906 | 1250 | 300 | 50 | 400 | 350 | 6 | 24 | 145 | 25 | 678 | 160 | 110 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5144E | BRDLW-145/630-3 | 145 | 630 | 2755 | 2450 | 3906 | 1250 | 300 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 900 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5150A | BRW-145/630-4 | 145 | 630 | 2535 | 2230 | 4495 | 1250 | 320 | 40 | 400 | 350 | 6 | 24 | 145 | 25 | 678 | 160 | 110 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5154K | BRDLW-145/630-4 | 145 | 630 | 2755 | 2450 | 4495 | 1250 | 320 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 900 | 160 | 60 | 120 | 40 | 4 | 14 | 28 | 35 | 200 | 35 | * | * |
| BR5154 | BRDLW-145/800-4 | 145 | 800 | 3155 | 2850 | 4600 | 1475 | 320 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 990 | 180 | 90 | 140 | 40 | 4 | 14 | 28 | 35 | 250 | 38 | * | * |
| BR5244E | BRLW-145/1250-3 | 145 | 1250 | 2890 | 2590 | 3906 | 1250 | 320 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 990 | 180 | 90 | 140 | 50 | 4 | 18 | 36 | 40 | 200 | 48 | * | * |
| BR5163E | BRDLW-170/630-4 | 170 | 630 | 3075 | 2770 | 5300 | 1475 | 340 | 300 | 450 | 400 | 8 | 24 | 180 | 25 | 910 | 180 | 120 | 180 | 40 | 4 | 14 | 28 | 35 | 250 | 35 | * | * |
| BR5164E | BRDLW-170/630-4 | 170 | 630 | 3175 | 2870 | 5300 | 1475 | 340 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 1010 | 180 | 120 | 180 | 40 | 4 | 14 | 28 | 35 | 250 | 35 | * | * |
| BR5253 | BRDLW-170/1250-3 | 170 | 1250 | 3100 | 2790 | 5300 | 1475 | 320 | 300 | 450 | 400 | 8 | 24 | 180 | 25 | 910 | 190 | 120 | 180 | 50 | 4 | 18 | 36 | 40 | 250 | 48 | * | * |

油浸纸电容式变压器套管---穿缆式（出口系列和252kV及以上电压等级）

OIP CONDENSER TRANSFORMER BUSHING---DRAW LEAD（Export Series and voltage level above 252 kV）

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | 引入电缆长 | 外绝缘瓷套 |  |  | 法兰及接地 |  |  |  |  |  |  | 油中尺寸 |  | 均压球 |  | 气中端子 |  |  | 引线接头 |  | 油枕 | 导管 | 接线柱 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | L1 | 公称爬距 | L2 | D4 | L4 | D | D3 | n1 | d3 | L6 | L7 | L3 | D2 | L8 | D5 | L9 | n2 | d4 | d1 | L5 | D1 | d2 | L11 | D6 |
| BR6140 | BRW-252/630-4 | 252 | 630 | 3990 | 3700 | 8600 | 2330 | 420 | 80 | 550 | 500 | 12 | 24 | 180 | 25 | 840 | 265 | 150 | 260 | 40 | 4 | 14 | 28 | 40 | 350 | 48 | * | * |
| BR6141A | BRW-252/630-4 | 252 | 630 | 4100 | 3810 | 8600 | 2330 | 420 | 110 | 550 | 500 | 12 | 24 | 180 | 25 | 950 | 265 | 150 | 260 | 40 | 4 | 14 | 28 | 40 | 350 | 48 | * | * |
| BR6143A | BRLW-252/630-4 | 252 | 630 | 4340 | 4050 | 8600 | 2330 | 420 | 350 | 550 | 500 | 12 | 24 | 180 | 25 | 1190 | 265 | 150 | 260 | 40 | 4 | 14 | 28 | 40 | 350 | 48 | * | * |
| BR6143L | BRLW-252/630-4 | 252 | 630 | 4490 | 4200 | 8600 | 2330 | 420 | 300 | 550 | 500 | 12 | 24 | 180 | 25 | 1340 | 265 | 150 | 260 | 40 | 4 | 14 | 28 | 40 | 350 | 48 | * | * |
| BR6144L | BRLW-252/630-4 | 252 | 630 | 4490 | 4200 | 8600 | 2330 | 420 | 400 | 550 | 500 | 12 | 24 | 180 | 25 | 1340 | 265 | 150 | 260 | 40 | 4 | 14 | 28 | 40 | 350 | 48 | * | * |
| BR6145A | BRLW-252/630-4 | 252 | 630 | 4490 | 4200 | 8600 | 2330 | 420 | 500 | 550 | 500 | 12 | 24 | 180 | 25 | 1340 | 265 | 150 | 260 | 40 | 4 | 14 | 28 | 40 | 350 | 48 | * | * |
| BR6147A | BRLW-252/630-4 | 252 | 630 | 5030 | 4740 | 8600 | 2330 | 420 | 750 | 550 | 500 | 12 | 24 | 180 | 25 | 1880 | 265 | 150 | 260 | 40 | 4 | 14 | 28 | 40 | 350 | 48 | * | * |
| BR6243A | BRLW-252/1250-4 | 252 | 1250 | 4360 | 4050 | 8600 | 2330 | 420 | 350 | 550 | 500 | 12 | 24 | 180 | 25 | 1190 | 265 | 150 | 260 | 40 | 4 | 14 | 36 | 40 | 350 | 48 | * | * |
| BR6245A | BRLW-252/1250-4 | 252 | 1250 | 4500 | 4200 | 8600 | 2330 | 420 | 500 | 550 | 500 | 12 | 24 | 180 | 25 | 1340 | 265 | 150 | 260 | 50 | 4 | 18 | 36 | 40 | 350 | 48 | * | * |
| BR6247A | BRLW-252/1250-4 | 252 | 1250 | 5050 | 4740 | 8600 | 2330 | 420 | 750 | 550 | 500 | 12 | 24 | 180 | 25 | 1880 | 265 | 150 | 260 | 50 | 4 | 18 | 28 | 40 | 350 | 48 | * | * |
| BR6153A | BRLW-300/630-4 | 300 | 630 | 4760 | 4470 | 10230 | 2800 | 420 | 300 | 550 | 500 | 12 | 24 | 180 | 25 | 1140 | 265 | 150 | 260 | 45 | 4 | 14 | 36 | 40 | 350 | 48 | * | * |
| BR6155A | BRLW-300/630-4 | 300 | 630 | 4960 | 4670 | 10230 | 2800 | 420 | 500 | 550 | 500 | 12 | 24 | 180 | 25 | 1340 | 265 | 150 | 260 | 45 | 4 | 14 | 36 | 40 | 350 | 48 | * | * |
| BR7136A | BRLW-363/630-3 | 363 | 630 | 5950 | 5650 | 9983 | 3000 | 500 | 600 | 720 | 660 | 12 | 24 | 250 | 30 | 1640 | 350 | 150 | 260 | 50 | 4 | 18 | 46 | 60 | 500 | 70 | * | * |
| BR7236A | BRLW-363/1250-3 | 363 | 1250 | 5970 | 5650 | 9983 | 3000 | 500 | 600 | 720 | 660 | 12 | 24 | 250 | 30 | 1640 | 350 | 150 | 260 | 50 | 4 | 18 | 46 | 60 | 500 | 70 | * | * |
| BR7246E | BRLW-420/1250-3 | 420 | 1250 | 7050 | 6600 | 12379 | 3700 | 580 | 600 | 720 | 660 | 12 | 24 | 250 | 30 | 2115 | 430 | 280 | 350 | 50 | 4*2 | 18 | 46 | 60 | 500 | 70 | * | * |
| BR8236A | BRDLW-550/1250-3 | 550 | 1250 | 7825 | 7285 | 15125 | 4350 | 580 | 600 | 720 | 660 | 12 | 24 | 290 | 30 | 2120 | 410 | 280 | 350 | 50 | 4*2 | 18 | 46 | 60 | 520 | 70 | * | * |
| BR8246A | BRDLW-550/1250-4 | 550 | 1250 | 8400 | 7860 | 18755 | 4925 | 580 | 600 | 720 | 660 | 12 | 24 | 290 | 30 | 2120 | 410 | 280 | 350 | 50 | 4*2 | 18 | 46 | 60 | 520 | 70 | * | * |
| 403A | 350-72.5-A3 | 72.5 | 800 | 1890 | 1605 | 2250 | 755 | 250 | 300 | 225 | 185 | 6 | 16 | 115 | 25 | 595 | 115 | 60 | 120 | * | * | * | 28 | 30 | 180 | 35 | 125 | 30 |
| 405A | 325-72.5-A5 | 72.5 | 800 | 1900 | 1640 | 2250 | 680 | 220 | 425 | 225 | 185 | 6 | 16 | 70 | 18 | 770 | 96 | 60 | 86 | 40 | 2 | 14 | 18 | 35 | 136 | 33 | * | * |
| 406A | 350-72.5-A6 | 72.5 | 800 | 2190 | 1905 | 2250 | 755 | 250 | 600 | 225 | 185 | 6 | 16 | 115 | 25 | 895 | 115 | 60 | 120 | * | * | * | 28 | 30 | 180 | 35 | 125 | 30 |
| 503A | 650-145-A3 | 145 | 800 | 2625 | 2340 | 3906 | 1250 | 320 | 300 | 335 | 290 | 12 | 16 | 145 | 25 | 800 | 165 | 60 | 120 | * | * | * | 28 | 30 | 200 | 35 | 125 | 30 |
| 506A | 650-145-A6 | 145 | 800 | 2925 | 2640 | 3906 | 1250 | 320 | 600 | 335 | 290 | 12 | 16 | 145 | 25 | 1100 | 165 | 60 | 120 | * | * | * | 28 | 30 | 200 | 35 | 125 | 30 |
| 513B | 650-145-B3 | 145 | 1250 | 2625 | * | 3906 | 1250 | 300 | 300 | 335 | 290 | 12 | 15 | 145 | 25 | 800 | 160 | 60 | 120 | * | * | * | 28 | 30 | 200 | * | 125 | 30 |
| 606A | 1050-245-A6 | 245 | 800 | 4355 | 4100 | 6930 | 2130 | 420 | 600 | 450 | 400 | 12 | 20 | 180 | 25 | 1440 | 265 | 150 | 260 | * | * | * | 28 | 40 | 350 | 48 | 125 | 30 |
| 413AB | 380-72.5-A5 | 72.5 | 800 | 1635 | 1480 | 2250 | 680 | 220 | 300 | 225 | 185 | 6 | 16 | 70 | 20 | 585 | 96 | 60 | 86 | * | * | * | 18 | 35 | 136 | 22 | 80 | 30 |
| 515AB | 650-145-A5 | 145 | 800 | 2605 | 2420 | 3980 | 1250 | 300 | 500 | 335 | 290 | 12 | 16 | 70 | 20 | 940 | 160 | 80 | 140 | * | * | * | 28 | 30 | 250 | 35 | 80 | 30 |
| 525AB | 650-145-A5 | 145 | 1250 | 2605 | 2420 | 3970 | 1250 | 300 | 500 | 335 | 290 | 12 | 16 | 70 | 20 | 940 | 160 | 80 | 140 | * | * | * | 28 | 30 | 250 | 35 | 80 | 30 |

油浸纸电容式变压器套管---导杆式

OIP CONDENSER TRANSFORMER BUSHING---SOLID STEM

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | 外绝缘瓷套 |  |  | 法兰及接地 |  |  |  |  |  |  | 油中尺寸 |  | 均压球 |  | 气中端子 | 油中端子 | 油枕 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | 公称爬距 | L1 | D4 | L3 | D | D3 | n | d | L4 | L5 | L2 | D2 | L6 | D5 | B | A | D1 |
| BR3340 | BRW-40.5/2000-4 | 40.5 | 2000 | 1440 | 1260 | 485 | 250 | * | 255 | 225 | 8 | 14 | 115 | 25 | 345 | 130 | * | * | 图B | 图A | 200 |
| BR3343 | BRLW-40.5/2000-4 | 40.5 | 2000 | 1715 | 1260 | 485 | 250 | 300 | 255 | 225 | 8 | 14 | 115 | 25 | 645 | 130 | * | * | 图B | 图A | 200 |
| BR3443 | BRLW-40.5/3150-4 | 40.5 | 3150 | 1765 | 1260 | 485 | 250 | 300 | 255 | 225 | 8 | 14 | 115 | 25 | 645 | 130 | * | * | 图B | 图A | 200 |
| BR4144DG | BRDLW-72.5/630-4 | 72.5 | 630 | 2070 | 2250 | 755 | 250 | 400 | 320 | 280 | 6 | 18 | 135 | 20 | 810 | 138 | 200 | 160 | 图B | 图A | 180 |
| BR4244DG | BRDLW-72.5/1250-4 | 72.5 | 1250 | 2080 | 2250 | 700 | 290 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 830 | 160 | 200 | 180 | 图B | 图A | 200 |
| BR4343A | BRDLW-72.5/1600-4 | 72.5 | 1600 | 2055 | 2250 | 700 | 290 | 300 | 400 | 350 | 6 | 24 | 145 | 25 | 730 | 160 | 200 | 180 | 图B | 图A | 200 |
| BR4344 | BRDLW-72.5/2000-4 | 72.5 | 2000 | 2155 | 2250 | 700 | 290 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 830 | 160 | 200 | 180 | 图B | 图A | 200 |
| BR4445 | BRDLW-72.5/3150-4 | 72.5 | 3150 | 2305 | 2250 | 700 | 290 | 500 | 400 | 350 | 6 | 24 | 145 | 25 | 930 | 160 | 200 | 180 | 图B | 图A | 200 |
| BR5144DG | BRDLW-126/630-4 | 126 | 630 | 2725 | 3906 | 1250 | 300 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 940 | 160 | 200 | 180 | 图B | 图A | 200 |
| BR5244DG | BRDLW-126/1250-4 | 126 | 1250 | 2745 | 3906 | 1250 | 300 | 400 | 400 | 350 | 6 | 24 | 145 | 25 | 940 | 160 | 200 | 180 | 图B | 图A | 200 |
| BR5344A | BRDLW-126/1600-4 | 126 | 1600 | 2850 | 3906 | 1250 | 320 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 940 | 180 | 200 | 180 | 图B | 图A | 200 |
| BR5344B | BRDLW-126/2500-4 | 126 | 2500 | 2850 | 3906 | 1250 | 320 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 940 | 180 | 200 | 180 | 图B | 图A | 200 |
| BR5443 | BRDLW-126-3150-4 | 126 | 3150 | 2790 | 3906 | 1250 | 320 | 300 | 450 | 400 | 8 | 24 | 180 | 25 | 840 | 180 | 200 | 180 | 图B | 图A | 200 |
| BR5345E | BRDLW-145/2000-3 | 145 | 2000 | 3005 | 3906 | 1250 | 320 | 500 | 450 | 400 | 8 | 24 | 180 | 25 | 1120 | 180 | 200 | 180 | 图B | 图A | 250 |
| BR5353 | BRDLW-145/2500-4 | 145 | 2500 | 3180 | 4600 | 1475 | 320 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 1020 | 180 | 230 | 180 | 图B | 图A | 250 |
| BR5364B | BRDLW-170/2500-4 | 170 | 2500 | 3325 | 5300 | 1475 | 320 | 400 | 450 | 400 | 8 | 24 | 180 | 25 | 1120 | 190 | 230 | 180 | 图B | 图A | 250 |
| BR6145G | BRLW-252/630-4 | 252 | 630 | 4530 | 8600 | 2330 | 420 | 500 | 550 | 500 | 12 | 24 | 180 | 25 | 1460 | 265 | 265 | 265 | 图B | 图A | 350 |
| BR6245G | BRLW-252/1250-4 | 252 | 1250 | 4620 | 8600 | 2330 | 420 | 500 | 550 | 500 | 12 | 24 | 180 | 25 | 1460 | 265 | 265 | 265 | 图B | 图A | 350 |
| BR6345A | BRLW-252/1600-4 | 252 | 1600 | 4620 | 8600 | 2330 | 420 | 500 | 550 | 500 | 12 | 24 | 180 | 25 | 1460 | 265 | 265 | 265 | 图B | 图A | 350 |
| BR6345B | BRLW-252/2500-4 | 252 | 2500 | 4670 | 8600 | 2330 | 420 | 550 | 550 | 500 | 12 | 24 | 180 | 25 | 1510 | 265 | 265 | 265 | 图B | 图A | 350 |
| BR7336B | BRLW-362/2500-3 | 362 | 2500 | 6200 | 9983 | 3000 | 500 | 600 | 720 | 660 | 12 | 24 | 250 | 30 | 1750 | 350 | 265 | 265 | 图B | 图A | 500 |
| BR7356B | BRLW-420/2500-3 | 420 | 2500 | 7050 | 12379 | 3700 | 580 | 600 | 720 | 660 | 12 | 24 | 250 | 30 | 2115 | 430 | 280 | 350 | 图B 分裂 | 图A | 500 |
| BR8346B | BRDLW-550/2500-4 | 550 | 2500 | 8400 | 18755 | 4925 | 580 | 600 | 720 | 660 | 12 | 24 | 290 | 30 | 2120 | 410 | 280 | 350 | 图B 分裂 | 图A | 500 |
| BR9335 | BRDLW-800/2000-3 | 800 | 2000 | 11020 | 27280 | 7320 | 765 | 500 | 800 | 711 | 12 | 32 | 320 | 35 | 2280 | 570 | 400 | 420 | 图B 分裂 | 图A | 700 |
| BR11334 | BRDLW-1100/2000-3 | 1100 | 2000 | 13780 | 33000 | 9500 | 850 | 380 | 1020 | 950 | 16 | 36 | 320 | 40 | 2510 | 660 | 450 | 500 | 图B 分裂 | 图A | 800 |
| BR11334B | BRDLW-1100/2500-3 | 1100 | 2500 | 13520 | 36900 | 9545 | 800 | 380 | 1200 | 1100 | 36 | 32 | 320 | 40 | 2490 | 650 | 500 | 500 | 图B 分裂 | 图A | 750 |

油浸纸电容式穿墙套管

OIP CONDENSER WALL BUSHING

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | 户外端瓷套 |  |  | 法兰及接地 |  |  |  |  |  |  | 户内端瓷套 |  |  |  | 气中端子 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | 公称爬距 | L1 | D1 | L3 | D | D3 | n | d | H | D4 | L2 | L4 | 公称爬距 | D2 | C |
| CR4133 | CRLW-72.5/630-3 | 72.5 | 630 | 2525 | 1825 | 700 | 270 | 300 | 400 | 350 | 6 | 24 | 25 | 160 | 1235 | 700 | 1825 | 250 | 图C |
| CR4234 | CRLW-72.5/1250-3 | 72.5 | 1250 | 2640 | 1825 | 700 | 270 | 400 | 400 | 350 | 6 | 24 | 25 | 160 | 1235 | 600 | 1825 | 250 | 图C |
| CR4333A | CRLW-72.5/1600-3 | 72.5 | 1600 | 2640 | 1825 | 700 | 270 | 300 | 400 | 350 | 6 | 24 | 25 | 264 | 1310 | 700 | 1825 | 250 | 图C |
| CR4343 | CRLW-72.5/2000-4 | 72.5 | 2000 | 2705 | 2250 | 700 | 290 | 300 | 400 | 350 | 6 | 24 | 25 | 264 | 1310 | 700 | 1825 | 270 | 图C |
| CR5133 | CRW-126/630-3 | 126 | 630 | 3185 | 3150 | 1100 | 300 | 300 | 400 | 350 | 6 | 24 | 25 | 264 | 1460 | 950 | 1850 | 240 | 图C |
| CR5233 | CRW-126/1250-3 | 126 | 1250 | 3250 | 3150 | 1100 | 300 | 300 | 400 | 350 | 6 | 24 | 25 | 264 | 1480 | 950 | 1850 | 240 | 图C |
| CR5333 | CRW-126/2000-3 | 126 | 2000 | 3365 | 3150 | 1100 | 320 | 300 | 400 | 350 | 6 | 24 | 25 | 280 | 1545 | 950 | 1850 | 260 | 图C |
| CR5433 | CRW-126/3150-3 | 126 | 3150 | 3510 | 3150 | 1100 | 320 | 300 | 400 | 350 | 6 | 24 | 25 | 280 | 1605 | 950 | 1850 | 260 | 图C |
| CR6234 | CRLW-252/1250-3 | 252 | 1250 | 5580 | 6930 | 2130 | 400 | 400 | 650 | 600 | 16 | 24 | 25 | 400 | 2630 | 1900 | 4050 | 360 | 图C |
| CR6535 | CRLW-252/4000-3 | 252 | 4000 | 5870 | 6930 | 2130 | 400 | 500 | 650 | 600 | 16 | 24 | 25 | 400 | 2800 | 1900 | 4050 | 360 | 双板面 |
| CR6635 | CRLW-252/5000-3 | 252 | 5000 | 5870 | 6930 | 2130 | 400 | 500 | 650 | 600 | 16 | 24 | 25 | 400 | 2800 | 1900 | 4050 | 360 | 双板面 |

大电流油纸电容式变压器套管

HIGH CURRENT OIP CONDENSER TRANSFORMER BUSHING

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | 户外端瓷套 |  |  | 法兰及接地 |  |  |  |  |  |  | 油中尺寸 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | 公称爬距 | L1 | D1 | L3 | D | D3 | n3 | d3 | H | h | L2 | D2 |
| BR2160 | BRW-24/16000-4 | 24 | 16000 | 1175 | 820 | 450 | 460 | 30 | 480 | 430 | 8 | 20 | 100 | 25 | 415 | 355 |
| BR2200 | BRLW-24/20000-4 | 24 | 20000 | 1330 | 820 | 450 | 460 | 200 | 480 | 430 | 8 | 20 | 100 | 25 | 570 | 355 |
| BR3160 | BRW-40.5/16000-4 | 40.5 | 16000 | 1175 | 1260 | 450 | 460 | 30 | 480 | 430 | 8 | 20 | 100 | 25 | 415 | 355 |
| BR3163 | BRLW-40.5/16000-4 | 40.5 | 16000 | 1430 | 1260 | 450 | 460 | 300 | 480 | 430 | 8 | 20 | 100 | 25 | 675 | 355 |
| BR3200 | BRW-40.5/20000-4 | 40.5 | 20000 | 1330 | 1260 | 450 | 460 | 30 | 480 | 430 | 8 | 20 | 100 | 25 | 570 | 355 |
| BR3203 | BRLW-40.5/20000-4 | 40.5 | 20000 | 1430 | 1260 | 450 | 460 | 300 | 480 | 430 | 8 | 20 | 100 | 25 | 675 | 355 |
| 产品品号 | 产品型号 | 气中端子 |  |  |  |  |  | 油中端子 |  |  |  |  |  |  |  |  |
| Code | Type | L4 | L5 | A1 | m1 | n1 | d1 | L6 | L7 | A2 | A3 | m2 | n2 | d2 |  |  |
| BR2160 | BRW-24/16000-4 | 220 | 150 | 50 | 4 | 12 | 14 | 190 | 140 | 40 | 60 | 2 | 8 | M12 |  |  |
| BR2200 | BRLW-24/20000-4 | 220 | 150 | 50 | 4 | 12 | 14 | 190 | 140 | 40 | 60 | 2 | 8 | M12 |  |  |
| BR3160 | BRW-40.5/16000-4 | 220 | 150 | 50 | 4 | 12 | 14 | 190 | 140 | 40 | 60 | 2 | 8 | M12 |  |  |
| BR3163 | BRLW-40.5/16000-4 | 220 | 150 | 50 | 4 | 12 | 14 | 190 | 140 | 40 | 60 | 2 | 8 | M12 |  |  |
| BR3200 | BRW-40.5/20000-4 | 220 | 150 | 50 | 4 | 12 | 14 | 190 | 140 | 40 | 60 | 2 | 8 | M12 |  |  |
| BR3203 | BRLW-40.5/20000-4 | 220 | 150 | 50 | 4 | 12 | 14 | 190 | 140 | 40 | 60 | 2 | 8 | M12 |  |  |

胶浸纸电容式套管 (RIP) resin-impregnated paper condenser bushing

1 套管型号说明Bushing type specification

ET□（产品型号）-□(设备最高电压：kV)/□(额定电流:A)-□(防污等级)□（F为复合外套，无为瓷套）

ET□（Product type）-□(Highest voltage for equipment:kV)/□(rated current:A)-□(anti-pollution level)□（F: composite external insulation，without F means the external insulation is porcelain）

产品型号Product type：

ETA:胶浸纸油-空气电容式套管 RIP

ETA: oil-air condenser bushing

ETO:胶浸纸油-油电容式套管，无防污等级

ETO: RIP oil-oil condenser bushing, anti-pollution level is not applicable here

ETF：胶浸纸油-SF6电容式套管，无防污等级

ETF: RIP oil-SF6 condenser bushing, anti-pollution level is not applicable here

Anti-pollution level:

3 represents the specific creepage distance is 25mm/kV (unidied specific creepage distance is 43.3mm/kV).

4 represents the specific creepage distance is 31mm/kV (unidied specific creepage distance is 53.7mm/kV)

2 电气性能 Electrical performance

| 序号 No. | 设备最高电压 Um | 雷电冲击耐受电压 | 一分钟工频干耐受电压 |  | 一分钟工频湿耐受电压 | 操作冲击耐受电压 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | BIL（kV） | AC（dry,kV） |  | AC（wet,kV） | SIL（kV） |
| 1 | 24 | 125 | 55 |  | 50 | --- |
| 2 | 40.5 | 200 | 95 |  | 80 | --- |
| 3 | 52 | 250 | 105 |  | 95 | --- |
| 4 | 72.5 | 325 | 155 |  | 140 | --- |
| 5 | 123（126） | 550 | 255 |  | 230 | --- |
| 6 | 145 | 650 | 305 |  | 275 | --- |
| 7 | 170 | 750 | 355 |  | 325 | --- |
| 8 | 245（252） | 1050 | 505 |  | 460 | --- |
| 9 | 300 | 1050 | 505 |  | --- | 850 |
| 10 | 362（363） | 1175 | 625 |  | 535 | 950 |
| 11 | 420 | 1425 | 695 |  | --- | 1050 |
| 12 | 550 | 1675 | 750 |  | --- | 1175 |
| 13 | 800 | 2100 | 970 |  | --- | 1425 |
| 介质损耗因素(20℃室温下)tanδ： |  |  |  | Um下＜0.006 |  |  |
| 局部放电量Partial discharge |  |  |  | Um下＜5PC |  |  |
|  |  |  |  | 1.5Um下＜10PC |  |  |

3 产品结构特点Product structure characteristics

·主绝缘用进口材料真空浸渍后固化而成

The main insulation are imported materials cured after impregnation under vacuum

·外绝缘可以选择瓷套或者复合外套

The external insulation can be porcelain or composite insulation.

·体积小、重量轻、安装方便、免维护

Small volume, light weight easy installation and free maintenance.

胶浸纸电容式变压器套管---油-空气

RIP CONDENSER TRANSFORMER BUSHING---OIL-AIR

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | 引入电缆长 | 外绝缘 |  |  | 法兰及接地 |  |  |  |  |  | 油中尺寸 |  | 均压球 |  | 气中端子 |  |  | 油中端子 |  |  |  | 引线接头 |  | 油枕 | 导管 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | L1 | 公称爬距 | L2 | D4 | L4 | D | D3 | n1 | d3 | L7 | L3 | D2 | L6 | D5 | L8 | n2 | d4 | L9 | L10 | n3 | d5 | d1 | L5 | D1 | d2 |
| EA223FR | ETA-24/1250-4F | 24 | 1250 | 1475 | 1140 | 810 | 485 | 290 | 300 | 225 | 185 | 6 | 18 | 20 | 470 | 95 | 60 | 100 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 210 | 48 |
| EA313FR | ETA-40.5/630-4F | 40.5 | 630 | 1490 | 1200 | 1260 | 485 | 290 | 300 | 225 | 185 | 6 | 18 | 20 | 505 | 95 | 60 | 100 | 40 | 4 | 14 | * | * | * | * | 28 | 35 | 210 | 35 |
| EA3144HY | ETA-46/630-3 | 46 | 630 | 1660 | 1350 | 1260 | 485 | 290 | 450 | 225 | 185 | 6 | 18 | 20 | 655 | 95 | 60 | 100 | 40 | 4 | 14 | * | * | * | * | 28 | 35 | 210 | 35 |
| EA333FR | ETA-40.5/2000-4F | 40.5 | 2000 | 1620 | * | 1260 | 485 | 290 | 300 | 255 | 225 | 8 | 14 | 20 | 585 | 110 | 45 | 110 | 60 | 4 | 18 | 45 | 80 | 4 | 14 | * | * | 230 | * |
| EA3731HY | ETA-40.5/6000-3 | 40.5` | 6000 | 1120 | * | 1050 | 450 | 355 | 100 | 360 | 320 | 8 | 20 | 20 | 450 | 190 | * | * | 50 | 10 | 14 | 45 | 100 | 4 | 14 | * | * | * | * |
| EA414FR | ETA-72.5/630-4F | 72.5 | 630 | 1945 | 1640 | 2250 | 750 | 290 | 400 | 320 | 280 | 6 | 18 | 20 | 690 | 100 | 50 | 100 | 40 | 4 | 14 | * | * | * | * | 28 | 35 | 210 | 35 |
| EA454FR | ETA-72.5/4000-4F | 72.5 | 4000 | 2210 | * | 2250 | 750 | 290 | 400 | 320 | 280 | 6 | 18 | 20 | 870 | 116 | 200 | 160 | 50 | 6 | 18 | 45 | 80 | 4 | 14 | * | * | 210 | * |
| EA510FR | ETA-126/630-4F | 126 | 630 | 2205 | 1900 | 3906 | 1250 | 290 | 0 | 400 | 350 | 6 | 24 | 25 | 450 | 112 | 60 | 110 | 40 | 4 | 14 | * | * | * | * | 28 | 35 | 210 | 35 |
| EA514FR | ETA-126/630-4F | 126 | 630 | 2590 | 2275 | 3906 | 1250 | 290 | 400 | 400 | 350 | 6 | 24 | 25 | 810 | 112 | 60 | 110 | 40 | 4 | 14 | * | * | * | * | 28 | 35 | 210 | 35 |
| EA615FR | ETA-252/630-4F | 252 | 630 | 4435 | 4150 | 8600 | 2330 | 440 | 500 | 550 | 500 | 12 | 24 | 30 | 1340 | 210 | 150 | 200 | 40 | 4 | 14 | * | * | * | * | 28 | 35 | 350 | 48 |
| EA7136HY | ETA-363/800-3 | 363 | 800 | 5470 | 5150 | 9985 | 2900 | 560 | 600 | 710 | 660 | 12 | 24 | 22 | 1820 | 300 | 190 | 290 | * | * | * | * | * | * | * | 46 | 50 | 500 | 60 |
| EA223CR | ETA-24/1250-4 | 24 | 1250 | 1505 | 1170 | 1260 | 485 | 300 | 300 | 255 | 225 | 8 | 14 | 20 | 410 | 110 | 60 | 110 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 230 | 48 |
| EA323CR | ETA-40.5/1250-4 | 40.5 | 1250 | 1540 | 1205 | 1260 | 485 | 300 | 300 | 255 | 225 | 8 | 14 | 20 | 445 | 110 | 60 | 110 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 230 | 48 |
| EA3244L | ETA-38/1250-4 | 38 | 1250 | 1590 | 1335 | 1260 | 485 | 300 | 450 | 255 | 225 | 8 | 14 | 20 | 655 | 110 | 60 | 110 | * | * | * | * | * | * | * | 36 | 40 | 230 | 60 |
| EA3340HY | ETA-40.5/1600-4 | 40.5 | 1600 | 1425 | * | 1260 | 485 | 300 | * | 225 | 185 | 6 | 15 | 20 | 400 | 100 | 50 | 100 | 60 | 4 | 18 | 40 | 80 | 2 | 14 | * | * | 264 | * |
| EA333CR | ETA-40.5/2500-4 | 40.5 | 2500 | 1615 | * | 1260 | 485 | 300 | 300 | 255 | 225 | 8 | 14 | 20 | 580 | 110 | 45 | 110 | 60 | 4 | 18 | 45 | 80 | 4 | 14 | * | * | 230 | * |
| EA3444L | ETA-38/3150-4 | 38 | 3150 | 1645 | * | 1260 | 485 | 300 | 450 | 255 | 225 | 8 | 14 | 20 | 735 | 110 | * | * | * | * | * | 45 | 80 | 4 | 14 | * | * | 230 | * |
| EA414CR | ETA-72.5/630-4 | 72.5 | 630 | 1920 | 1605 | 2250 | 755 | 300 | 400 | 320 | 280 | 6 | 18 | 20 | 690 | 100 | 45 | 100 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 265 | 35 |
| EA424CR | ETA-72.5/1250-4 | 72.5 | 1250 | 1965 | 1650 | 2250 | 755 | 300 | 400 | 320 | 280 | 6 | 18 | 20 | 690 | 115 | 50 | 100 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 230 | 48 |
| EA4343CR | ETA-72.5/2500-4 | 72.5 | 2500 | 2145 | * | 2250 | 755 | 300 | 300 | 335 | 290 | 8 | 16 | 20 | 770 | 116 | 200 | 160 | 55 | 6 | 18 | 45 | 80 | 4 | 14 | * | * | 230 | * |
| EA4444HY | ETA-72.5/3150-4 | 72.5 | 3150 | 2175 | * | 2250 | 755 | 300 | 400 | 320 | 280 | 6 | 18 | 20 | 870 | 160 | 200 | 160 | 60 | 4 | 18 | 45 | 80 | 4 | 14 | * | * | 230 | * |
| EA524CR | ETA-126/1250-4 | 126 | 1250 | 2605 | 2270 | 3906 | 1250 | 310 | 400 | 400 | 350 | 6 | 24 | 25 | 810 | 130 | 60 | 120 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 265 | 48 |
| EA533CR | ETA-126/2000-4 | 126 | 2000 | 2880 | * | 3906 | 1250 | 370 | 300 | 450 | 400 | 8 | 24 | 25 | 1070 | 160 | 200 | 180 | 60 | 4 | 18 | 45 | 80 | 4 | 14 | * | * | 375 | * |
| EA625CR | ETA-252/1250-4 | 252 | 1250 | 4340 | 4050 | 8600 | 2330 | 420 | 500 | 550 | 500 | 12 | 24 | 30 | 1340 | 210 | 150 | 200 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 400 | 48 |
| EA715CR | ETA-363/630-4 | 363 | 630 | 6330 | 6020 | 12380 | 3720 | 500 | 500 | 720 | 660 | 12 | 24 | 30 | 1800 | 285 | 190 | 290 | 40 | 4 | 14 | * | * | * | * | 46 | 50 | 450 | 60 |
| EA735CR | ETA-363/1600-4 | 363 | 1600 | 6120 | * | 13013 | 3720 | 485 | 500 | 720 | 660 | 12 | 24 | 30 | 1600 | 285 | 230 | 290 | 60 | 4 | 18 | 45 | 80 | 4 | 14 | * | * | 420 | * |
| EA816CR | ETA-420/630-3 | 420 | 630 | 6810 | 6500 | 11550 | 4180 | 470 | 600 | 720 | 660 | 12 | 24 | 30 | 1820 | 330 | 190 | 290 | 40 | 4 | 14 | * | * | * | * | 46 | 50 | 500 | 60 |

胶浸纸电容式变压器套管---油-油

RIP CONDENSER TRANSFORMER BUSHING---OIL-OIL

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | 电缆盒端 |  |  |  |  |  |  | 法兰及接地 |  |  |  |  | 油中尺寸 |  |  |  |  |  |  |  | 电缆长 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | L1 | D2 | L6 | D1 | a1 | n1 | d1 | L4 | L3 | D3 | n3 | d3 | L2 | D4 | L5 | D5 | a2 | n2 | d2 | d4 |  |
| EO414C | ETO-72.5/630 | 72.5 | 630 | 1365 | 520 | 110 | 280 | 160 | 40 | 2 | 14 | 400 | 105 | 250 | 8 | 16 | 685 | 110 | 45 | 110 | * | * | * | 35 | 1020 |
| EO414 | ETO-72.5/630 | 72.5 | 630 | 1430 | 520 | 110 | 200 | 160 | 40 | 2 | 14 | 400 | 105 | 250 | 8 | 16 | 810 | 110 | 200 | 160 | 40 | 2 | 14 | * | * |
| EO431 | ETO-72.5/2000 | 72.5 | 2000 | 1180 | 520 | 110 | 200 | 160 | 40 | 2 | 14 | 150 | 105 | 250 | 8 | 16 | 560 | 110 | 200 | 160 | 40 | 2 | 14 | * | * |
| EO514C | ETO-126/630 | 126 | 630 | 1455 | 640 | 120 | 280 | 160 | 40 | 2 | 14 | 400 | 105 | 290 | 8 | 16 | 760 | 120 | 45 | 110 | * | * | * | 35 | 1170 |
| EO514 | ETO-126/630 | 126 | 630 | 1605 | 640 | 120 | 200 | 160 | 40 | 2 | 14 | 400 | 105 | 290 | 8 | 16 | 855 | 120 | 200 | 160 | 40 | 2 | 14 | * | * |
| EO533 | ETO-126/2000 | 126 | 2000 | 1490 | 635 | 140 | 200 | 160 | 40 | 2 | 14 | 300 | 105 | 290 | 8 | 16 | 755 | 135 | 200 | 160 | 40 | 2 | 14 | * | * |
| EO513E | ETO-145/630 | 145 | 630 | 1600 | 635 | 125 | 200 | 160 | 40 | 2 | 14 | 360 | 105 | 290 | 8 | 16 | 865 | 120 | 200 | 160 | 40 | 2 | 14 | * | * |
| EO533E | ETO-145/2000 | 145 | 2000 | 1540 | 635 | 140 | 200 | 160 | 40 | 2 | 14 | 300 | 105 | 290 | 8 | 16 | 805 | 135 | 200 | 160 | 40 | 2 | 14 | * | * |
| EO510K | ETO-170/630 | 170 | 630 | 1705 | 900 | 170 | 230 | 250 | 40 | 2 | 14 | 30 | 150 | 500 | 12 | 24 | 705 | 170 | 230 | 250 | 40 | 2 | 14 | * | * |
| EO614 | ETO-252/630 | 252 | 630 | 2580 | 1000 | 200 | 230 | 250 | 40 | 2 | 14 | 400 | 150 | 500 | 12 | 24 | 1460 | 200 | 230 | 250 | 40 | 2 | 14 | * | * |
| EO624 | ETO-252/1250 | 252 | 1250 | 2580 | 1000 | 200 | 230 | 250 | 40 | 2 | 14 | 400 | 150 | 500 | 12 | 24 | 1460 | 200 | 230 | 250 | 40 | 2 | 14 | * | * |
| EO635 | ETO-252/2000 | 252 | 2000 | 2680 | 1000 | 200 | 230 | 250 | 40 | 2 | 14 | 500 | 150 | 500 | 12 | 24 | 1560 | 200 | 230 | 250 | 40 | 2 | 14 | * | * |
| EO734 | ETO-420/2000 | 420 | 2000 | 2510 | 1100 | 325 | 300 | 290 | 40 | 2 | 14 | 400 | 200 | 600 | 12 | 24 | 1210 | 325 | 300 | 290 | 40 | 2 | 14 | * | * |
| EO824 | ETO-550/1250 | 550 | 1250 | 2880 | 1200 | 385 | 300 | 290 | 40 | 2 | 14 | 500 | 200 | 600 | 12 | 24 | 1480 | 385 | 300 | 290 | 40 | 2 | 14 | * | * |
| EO835 | ETO-550/2000 | 550 | 2000 | 2880 | 1200 | 385 | 300 | 290 | 40 | 2 | 14 | 500 | 200 | 600 | 12 | 24 | 1480 | 385 | 300 | 290 | 40 | 2 | 14 | * | * |

胶浸纸电容式变压器套管---油-SF6

RIP CONDENSER TRANSFORMER BUSHING---OIL-SF6

| 产品品号 | 产品型号 | 额定电压 | 额定电流 | 总长 | GIS端 |  |  |  |  |  |  | 法兰及接地 |  |  |  |  |  |  |  |  |  |  | 油中端 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | L1 | D3 | L4 | D1 | D2 | n1 | d1 | L6 | L3 | D4 | D5 | n2 | d2 | L5 | D7 | D6 | n3 | d3 | L2 | D8 | L7 | D9 | a | n4 | d4 |
| EF410 | ETF-72.5/630 | 72.5 | 630 | 980 | 330 | 110 | 25 | 99 | 70 | 4 | M12 | 30 | 150 | 335 | 305 | 8 | 16 | 25 | 335 | 290 | 8 | 16 | 455 | 110 | 200 | 160 | 40 | 2 | 14 |
| EF420 | ETF-72.5/1250 | 72.5 | 1250 | 980 | 330 | 110 | 25 | 99 | 70 | 4 | M12 | 30 | 150 | 335 | 305 | 8 | 16 | 25 | 335 | 290 | 8 | 16 | 455 | 110 | 200 | 160 | 40 | 2 | 14 |
| EF430 | ETF-72.5/2000 | 72.5 | 2000 | 980 | 330 | 110 | 25 | 99 | 70 | 4 | M12 | 30 | 150 | 335 | 305 | 8 | 16 | 25 | 335 | 290 | 8 | 16 | 455 | 110 | 200 | 160 | 40 | 2 | 14 |
| EF514 | ETF-126/630 | 126 | 630 | 1585 | 520 | 120 | 25 | 99 | 70 | 4 | M12 | 400 | 150 | 335 | 305 | 8 | 16 | 30 | 335 | 290 | 8 | 16 | 915 | 120 | 200 | 160 | 40 | 2 | 14 |
| EF524 | ETF-126/1250 | 126 | 1250 | 1585 | 520 | 120 | 25 | 99 | 70 | 4 | M12 | 400 | 150 | 335 | 305 | 8 | 16 | 30 | 335 | 290 | 8 | 16 | 915 | 120 | 200 | 160 | 40 | 2 | 14 |
| EF534 | ETF-126/2000 | 126 | 2000 | 1585 | 520 | 120 | 25 | 99 | 70 | 4 | M12 | 400 | 150 | 335 | 305 | 8 | 16 | 30 | 335 | 290 | 8 | 16 | 915 | 120 | 200 | 160 | 40 | 2 | 14 |
| EF513E | ETF-145/630 | 145 | 630 | 1535 | 520 | 120 | 25 | 99 | 70 | 4 | M12 | 300 | 150 | 335 | 305 | 8 | 16 | 30 | 335 | 290 | 12 | 22 | 865 | 120 | 200 | 160 | 40 | 2 | 14 |
| EF533E | ETF-145/2000 | 145 | 2000 | 1535 | 520 | 120 | 25 | 99 | 70 | 4 | M12 | 300 | 150 | 335 | 305 | 8 | 16 | 30 | 335 | 290 | 12 | 22 | 865 | 120 | 200 | 160 | 40 | 2 | 14 |
| EF513K | ETF-170/630 | 170 | 630 | 1620 | 520 | 170 | 25 | 99 | 70 | 4 | M12 | 300 | 150 | 335 | 305 | 8 | 16 | 30 | 335 | 290 | 12 | 22 | 950 | 170 | 230 | 250 | 40 | 2 | 14 |
| EF533K | ETF-170/2000 | 170 | 2000 | 1620 | 520 | 170 | 25 | 99 | 70 | 4 | M12 | 300 | 150 | 335 | 305 | 8 | 16 | 30 | 335 | 290 | 12 | 22 | 950 | 170 | 230 | 250 | 40 | 2 | 14 |
| EF613 | ETF-252/630 | 252 | 630 | 2005 | 770 | 200 | 25 | 139 | 110 | 4 | M12 | 350 | 220 | 570 | 535 | 16 | 16 | 30 | 450 | 400 | 12 | 20 | 1015 | 200 | 230 | 250 | 40 | 2 | 14 |
| EF623 | ETF-252/1250 | 252 | 1250 | 2620 | 770 | 200 | 25 | 139 | 110 | 4 | M12 | 350 | 220 | 570 | 535 | 16 | 16 | 30 | 450 | 400 | 12 | 20 | 1015 | 200 | 230 | 250 | 40 | 2 | 14 |
| EF635 | ETF-252/2000 | 252 | 2000 | 2620 | 770 | 200 | 25 | 139 | 110 | 4 | M12 | 500 | 220 | 570 | 535 | 16 | 16 | 30 | 450 | 400 | 12 | 20 | 1630 | 200 | 230 | 250 | 40 | 2 | 14 |
| EF715 | ETF-363/630 | 363 | 630 | 2890 | 1050 | 280 | 25 | 139 | 110 | 4 | M12 | 500 | 200 | 690 | 640 | 16 | 20 | 35 | 680 | 620 | 12 | 24 | 1640 | 280 | 300 | 290 | 40 | 2 | 14 |
| EF737 | ETF-363/2000 | 363 | 2000 | 3590 | 1050 | 280 | 25 | 139 | 110 | 4 | M12 | 700 | 200 | 690 | 640 | 16 | 20 | 35 | 680 | 620 | 12 | 24 | 2340 | 280 | 300 | 290 | 40 | 2 | 14 |
| EF733E | ETF-420/2000 | 420 | 2000 | 2410 | 1050 | 325 | 25 | 139 | 110 | 4 | M12 | 300 | 200 | 690 | 640 | 16 | 20 | 35 | 560 | 500 | 12 | 24 | 1160 | 325 | 300 | 290 | 40 | 2 | 14 |
| EF835 | ETF-550/2000 | 550 | 2000 | 2680 | 1050 | 385 | 25 | 139 | 110 | 4 | M12 | 500 | 200 | 690 | 640 | 16 | 20 | 35 | 660 | 600 | 12 | 24 | 1430 | 385 | 300 | 290 | 40 | 2 | 14 |

玻璃钢电容式套管 (FRP) Fiber reinforce plastic condenser bushing

1 套管型号说明Bushing type specification

ETG□（Product type）-□(Highest voltage for equipment: kV)/□(rated current:A)-□(anti-pollution level)□（F: composite external insulation，without F means the external insulation is porcelain）

产品型号Product type：

ETGA: 玻璃钢油-空气电容式套管

ETGA: FRP oil-air condenser bushing

ETGO: 玻璃钢油-油电容式套管，无防污等级

ETGO: FRP oil-oil condenser bushing, anti-pollution level is not applicable here

ETGF：玻璃钢油-SF6电容式套管，无防污等级

ETGF: FRP oil-SF6 condenser bushing, anti-pollution level is not applicable here

Anti-pollution level:

3 represents the specific creepage distance is 25mm/kV (unidied specific creepage distance is 43.3mm/kV).

4 represents the specific creepage distance is 31mm/kV (unidied specific creepage distance is 53.7mm/kV)

2 电气性能 Electrical performance

| 序号 No. | 设备最高电压 Um | 雷电冲击耐受电压 | 一分钟工频干耐受电压 |  | 一分钟工频湿耐受电压 | 操作冲击耐受电压 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | BIL（kV） | AC（dry,kV） |  | AC（wet,kV） | SIL（kV） |
| 1 | 12 | 75 | 30 |  | 28 | --- |
| 2 | 24 | 125 | 55 |  | 50 | --- |
| 3 | 40.5 | 200 | 95 |  | 80 | --- |
| 4 | 52 | 250 | 105 |  | 95 | --- |
| 5 | 72.5 | 325 | 155 |  | 140 | --- |
| 6 | 123（126） | 550 | 255 |  | 230 | --- |
| 7 | 145 | 650 | 305 |  | 275 | --- |
| 8 | 170 | 750 | 355 |  | 325 | --- |
| 9 | 245（252） | 1050 | 505 |  | 460 | --- |
| 10 | 300 | 1050 | 505 |  | --- | 850 |
| 11 | 362（363） | 1175 | 625 |  | 535 | 950 |
| 介质损耗因素(20℃室温下)tanδ： |  |  |  | Um下＜0.004 |  |  |
| 局部放电量Partial discharge |  |  |  | Um下＜10PC |  |  |

3 产品结构特点Product structure characteristics

·体积小、重量轻、强度高 Small volume, light weight and high strength

·密封性好、防水性能优异 Good sealing and waterproof performance

·防污能力强、安装方便、免维护 Strong anti-fouling ability, easy installation and free maintenance

玻璃钢电容式变压器套管---油-空气

FRP CONDENSER TRANSFORMER BUSHING---OIL-AIR

| 产品 品号 | 产品型号 | 额定电压 | 额定 电流 | 总长 | 引入 电缆长 | 外绝缘 |  |  | 法兰及接地 |  |  |  |  |  | 油中尺寸 |  | 均压球 |  | 气中端子 |  |  | 油中端子 |  |  |  | 引线接头 |  | 油枕 | 导管 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code | Type | Um | Ir | L | L1 | 公称爬距 | L2 | D4 | L4 | D | D3 | n1 | d3 | L7 | L3 | D2 | L6 | D5 | L8 | n2 | d4 | L9 | L10 | n3 | d5 | d1 | L5 | D1 | d2 |
| EA130GF | ETGA-12/2000-4F | 12 | 2000 | 740 | * | 380 | 180 | 220 | 30 | 220 | 190 | 6 | 14 | 15 | 280 | 65 | * | * | 50 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 85 | * |
| EA140GF | ETGA-12/3150-4F | 12 | 3150 | 755 | * | 380 | 180 | 220 | 30 | 220 | 190 | 6 | 14 | 15 | 280 | 75 | * | * | 50 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 95 | * |
| EA150GF | ETGA-12/4000-4F | 12 | 4000 | 855 | * | 380 | 180 | 220 | 30 | 240 | 210 | 8 | 14 | 18 | 300 | 85 | * | * | 50 | 9 | 18 | 50 | 100 | 4 | 18 | * | * | 105 | * |
| EA210GF | ETGA-24/630-4F | 24 | 630 | 875 | 650 | 744 | 325 | 220 | 30 | 220 | 190 | 6 | 14 | 15 | 270 | 85 | * | * | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 105 | 35 |
| EA230GF | ETGA-24/2000-4F | 24 | 2000 | 975 | * | 744 | 325 | 220 | 30 | 220 | 190 | 6 | 14 | 15 | 360 | 85 | * | * | 50 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 105 | * |
| EA240GF | ETGA-24/3150-4F | 24 | 3150 | 980 | * | 744 | 325 | 220 | 30 | 220 | 190 | 6 | 14 | 15 | 360 | 95 | * | * | 50 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 115 | * |
| EA250GF | ETGA-24/4000-4F | 24 | 4000 | 1100 | * | 744 | 325 | 220 | 30 | 240 | 210 | 8 | 14 | 18 | 380 | 105 | * | * | 50 | 9 | 18 | 50 | 100 | 4 | 18 | * | * | 125 | * |
| EA314GF | ETGA-40.5/630-4 | 40.5 | 630 | 1330 | 1090 | 1260 | 365 | 220 | 400 | 220 | 190 | 6 | 14 | 16 | 640 | 98 | 30 | 90 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 110 | 35 |
| EA324GF | ETGA-40.5/1250-4 | 40.5 | 1250 | 1365 | 1090 | 1260 | 365 | 220 | 400 | 220 | 190 | 6 | 14 | 16 | 640 | 118 | 30 | 90 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 110 | 48 |
| EA330GF | ETGA-40.5/2000-4 | 40.5 | 2000 | 1033 | * | 1260 | 380 | 220 | 30 | 240 | 210 | 6 | 14 | 16 | 265 | 130 | * | * | 50 | 4 | 18 | 45 | 80 | 4 | 14 | * | * | 150 | * |
| EA340GF | ETGA-40.5/3150-4 | 40.5 | 3150 | 1038 | * | 1260 | 380 | 220 | 30 | 240 | 210 | 6 | 14 | 16 | 265 | 130 | * | * | 50 | 4 | 18 | 45 | 80 | 4 | 14 | * | * | 150 | * |
| EA350GF | ETGA-40.5/4000-4 | 40.5 | 4000 | 1148 | * | 1260 | 380 | 220 | 30 | 240 | 210 | 6 | 14 | 16 | 290 | 130 | * | * | 50 | 9 | 18 | 45 | 80 | 4 | 14 | * | * | 150 | * |
| EA410GF | ETGA-72.5/630-4F | 72.5 | 630 | 1510 | 1205 | 2250 | 750 | 260 | 30 | 320 | 280 | 6 | 18 | 18 | 320 | 125 | 60 | 125 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 150 | 35 |
| EA413GF | ETGA-72.5/630-4F | 72.5 | 630 | 1780 | 1475 | 2250 | 750 | 260 | 300 | 320 | 280 | 6 | 18 | 18 | 590 | 125 | 60 | 125 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 150 | 35 |
| EA414GF | ETGA-72.5/630-4F | 72.5 | 630 | 1880 | 1575 | 2250 | 750 | 260 | 400 | 320 | 280 | 6 | 18 | 18 | 690 | 125 | 60 | 125 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 150 | 35 |
| EA420GF | ETGA-72.5/1250-4F | 72.5 | 1250 | 1835 | 1510 | 2250 | 800 | 260 | 40 | 320 | 280 | 6 | 18 | 18 | 460 | 124 | 75 | 125 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 150 | 48 |
| EA424GF | ETGA-72.5/1250-4F | 72.5 | 1250 | 2235 | 1910 | 2250 | 800 | 260 | 400 | 320 | 280 | 6 | 18 | 18 | 860 | 124 | 75 | 125 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 150 | 48 |
| EA430GF | ETGA-72.5/2000-4F | 72.5 | 2000 | 1875 | * | 2250 | 800 | 260 | 40 | 320 | 280 | 6 | 18 | 18 | 480 | 125 | 180 | 120 | 50 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 150 | * |
| EA434GF | ETGA-72.5/2000-4F | 72.5 | 2000 | 2275 | * | 2250 | 800 | 260 | 400 | 320 | 280 | 6 | 18 | 18 | 880 | 125 | 180 | 120 | 50 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 150 | * |
| EA430BGF | ETGA-72.5/2500-4F | 72.5 | 2500 | 1900 | * | 2250 | 800 | 260 | 40 | 320 | 280 | 6 | 18 | 18 | 480 | 125 | 180 | 120 | 60 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 150 | * |
| EA434BGF | ETGA-72.5/2500-4F | 72.5 | 2500 | 2300 | * | 2250 | 800 | 260 | 400 | 320 | 280 | 6 | 18 | 18 | 880 | 125 | 180 | 120 | 60 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 150 | * |
| EA510GF | ETGA-126/630-4F | 126 | 630 | 2155 | 1850 | 3906 | 1250 | 290 | 40 | 400 | 350 | 6 | 24 | 26 | 450 | 165 | 60 | 125 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 200 | 35 |
| EA514GF | ETGA-126/630-4F | 126 | 630 | 2515 | 2210 | 3906 | 1250 | 290 | 400 | 400 | 350 | 6 | 24 | 26 | 810 | 165 | 60 | 125 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 200 | 35 |
| EA515GF | ETGA-126/630-4F | 126 | 630 | 2665 | 2360 | 3906 | 1250 | 290 | 550 | 400 | 350 | 6 | 24 | 26 | 960 | 165 | 60 | 125 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 200 | 35 |
| EA520GF | ETGA-126/1250-4F | 126 | 1250 | 2215 | 1965 | 3906 | 1250 | 290 | 40 | 400 | 350 | 6 | 24 | 22 | 505 | 185 | 75 | 125 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 200 | 48 |
| EA524GF | ETGA-126/1250-4F | 126 | 1250 | 2615 | 2365 | 3906 | 1250 | 290 | 400 | 400 | 350 | 6 | 24 | 22 | 905 | 185 | 75 | 125 | 50 | 4 | 18 | * | * | * | * | 36 | 40 | 200 | 48 |
| EA534AGF | ETGA-126/1600-4F | 126 | 1600 | 2620 | 2370 | 3906 | 1250 | 290 | 400 | 400 | 350 | 6 | 24 | 22 | 905 | 185 | 75 | 125 | 50 | 4 | 18 | * | * | * | * | 50 | 50 | 200 | 60 |
| EA534GF | ETGA-126/2000-4F | 126 | 2000 | 2670 | * | 3906 | 1250 | 290 | 400 | 400 | 350 | 6 | 24 | 22 | 1030 | 185 | 200 | 180 | 50 | 4 | 18 | 40 | 80 | 4 | 14 | * | * | 200 | * |
| EA510KGF | ETGA-145/630-4F | 145 | 630 | 2440 | 2215 | 4495 | 1450 | 400 | 40 | 400 | 350 | 6 | 24 | 22 | 565 | 175 | 125 | 145 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 200 | 35 |
| EA514KGF | ETGA-145/630-4F | 145 | 630 | 2840 | 2615 | 4495 | 1450 | 400 | 400 | 400 | 350 | 6 | 24 | 22 | 965 | 175 | 125 | 145 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 200 | 35 |
| EA510EGF | ETGA-170/630-4F | 170 | 630 | 2770 | 2545 | 5300 | 1650 | 420 | 40 | 450 | 400 | 8 | 24 | 25 | 605 | 200 | 125 | 145 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 200 | 35 |
| EA514EGF | ETGA-170/630-4F | 170 | 630 | 3170 | 2945 | 5300 | 1650 | 420 | 400 | 450 | 400 | 8 | 24 | 25 | 1005 | 200 | 125 | 145 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 200 | 35 |
| EA611GF | ETGA-252/630-4F | 252 | 630 | 4045 | 3760 | 8600 | 2330 | 485 | 110 | 550 | 500 | 12 | 24 | 30 | 950 | 300 | 150 | 200 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 280 | 48 |
| EA614GF | ETGA-252/630-4F | 252 | 630 | 4335 | 4050 | 8600 | 2330 | 485 | 400 | 550 | 500 | 12 | 24 | 30 | 1240 | 300 | 150 | 200 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 280 | 48 |
| EA615GF | ETGA-252/630-4F | 252 | 630 | 4435 | 4150 | 8600 | 2330 | 485 | 500 | 550 | 500 | 12 | 24 | 30 | 1340 | 300 | 150 | 200 | 40 | 4 | 14 | * | * | * | * | 28 | 30 | 280 | 48 |

全氢冷发电机出线套管

INTERNAL HYDROGEN COOLING ELECTRIC GENERATOR BUSHING

| 技术参数（technical data） |  |
| --- | --- |
| 额定电压（Rated Voltage） | 24kV |
| 额定电流(Rated Current) | 25000A |
| 工频耐受电压试验（AC） | 65kV |
| 雷电冲击耐受电压(BIL) | 115kV |
| 介质损耗因数tanδ（measure at 14.5kV） | ＜0.02 |
| 局放PD（Measure at 14.5kV） | ＜10PC |
| 弯曲耐受负荷(Value of cantilever withstand load) | 8kN |
| 冷却方式(Type of cooling) | 氢内冷(internal hydrogen cooling) |

不断创新，技术始终领先；

精心制作，力争件件精品；

持续改进，质量稳定可靠；

优质服务，保证用户满意；

遵规守法，报障健康安全。

Technical leadership through continuous innovation

Excellent products through fine workmanship

Stable reliable quality through persistence improvement

Assurance of consumer satisfaction through high-quality service

南京智达电气有限公司

NANJING ZHIDA ELECTRIC CO., LTD. CHINA

—————————————————————————————————

地址：句容经济开发区隆昌路18号

Address: No.18 Longchang Road, Economic zone, Jurong

销售电话：025-68518886-808          Tel: (0086) 025-68518886-808

销售传真：025-68518886-806          Fax: (0086)025-68518886-806